Objective 1: Comparative Evaluation of Segmentation Strategies for Knee Joint Anatomy

To develop and validate an automated image-analysis framework for segmenting knee joint anatomy from radiographs, and to identify the most accurate segmentation strategy by comparing semantic (deep-learning-based, e.g., U-Net), evolutionary (e.g., Kapur's/Otsu's objective functions optimized via Genetic Algorithm), swarm-based (e.g., PSO, ACO), and quantum-inspired (e.g., QudGA) approaches against expert-annotated ground truth.

Step 1: Data Preparation
Curate and preprocess the knee radiograph dataset (OAI/Kaggle) — standardize resolution, normalize contrast, handle left/right knee laterality, remove unusable images.

Step 2: Create a Small Expert-Annotated Anchor Set
Obtain expert-annotated segmentation masks for a small subset of images (~20–30), used only to check whether the unsupervised evaluation approach (Steps 6–7) aligns with expert judgment — not for full-scale validation.

Step 3: Semantic Segmentation (U-Net)
Train or fine-tune a U-Net model to segment knee joint anatomy from the radiographs.
Requires a separate annotated training set (existing OAI-derived masks, or transfer learning to avoid needing a large new training set).

Step 4: Segmentation using Meta-heuristic Algorithms
Apply Kapur's entropy, Otsu's variance criterion etc. as the objective function, optimized via a Evolutionary Algorithm, Swarm-Based and Quantum-Inspired Segmentation to segment the images.
Unsupervised — no labeled data needed.

Step 5: Evaluate Against Expert-Annotated Ground Truth

Take the segmentation output from each of the four methods (U-Net, evolutionary, swarm-based, quantum-inspired) and compare it to the expert-annotated masks from Step 2 — the "correct answer" traced by a radiologist/clinician. This comparison produces three accuracy scores for each method:

- Dice coefficient — measures how much the computer's traced region overlaps with the expert's traced region (higher = more overlap = better match).

- IoU (Intersection over Union) — a similar overlap measure, slightly stricter than Dice, commonly reported alongside it.

- Boundary accuracy — specifically checks how close the edges/outlines of the traced regions are, which matters because small boundary errors can matter more than overall area overlap.

At the end of this step, each of the four methods has a set of scores telling you how close it came to the expert's ground truth.

Then — how you handle the numbers depends on how many expert-annotated images you actually have:

Case A — Small set (20–30 images):
Because the sample is small, a simple average score isn't fully trustworthy on its own — it could be influenced by which specific 20-30 images you happened to annotate. So:

- Paired statistical tests: since all four methods are tested on the exact same images, compare their scores image-by-image (not just as separate averages) — this is a more powerful way to detect real differences with a small sample.

- Bootstrap resampling: repeatedly resample from your 20-30 images (with replacement) to see if the same method keeps coming out on top across many random resamples. If it does, that's evidence the ranking is stable and trustworthy, not a fluke of the specific images chosen.

Case B — Larger set (100–200 images):
With more images, the averages themselves are already more statistically stable, so you don't need the extra bootstrap/paired-test safety net — you can just:

- Compare average Dice/IoU/boundary accuracy across methods directly.

- Optionally, break the comparison down by subgroup (e.g., separately for KL grade 0, 1, 2, 3, 4) to see if some methods do better on mild cases and others on severe cases — a richer, bonus finding.

Step 6: Rank and Select the Best Segmentation Method

Based on the accuracy scores from Step 5 (Dice, IoU, boundary accuracy — validated with paired tests/bootstrap if using the smaller set, or standard aggregation if using the larger set), rank all four methods (U-Net, evolutionary, swarm-based, quantum-inspired) from best to worst performing.

- Identify the overall best-performing method (or the best method per image, if you're retaining that granularity from earlier).

- Explicitly report whether the quantum-inspired method (QudGA) offers a measurable advantage over the classical/swarm/semantic approaches — this is the specific finding tied to your stated differentiator, so it's worth calling out on its own rather than letting it get lost in the overall ranking.

- If subgroup analysis was done in Step 5 (Case B, larger set), also note here whether the best method varies by KL grade or other subgroups, or whether one method is consistently best across all severity levels.

The output of this step is a clear, defensible answer to Objective 1's core question: which segmentation strategy performs best, and by how much — this is what gets carried forward into (Objective 2).

Objective 2: Structural Biomarker Extraction from Validated Segmentation

To develop and validate an automated method for extracting clinically relevant structural biomarkers — including KL grade and FTA (Femorotibial Angle) — from the best-performing segmentation output identified in Objective 1, and to evaluate the accuracy of these derived biomarkers against expert-measured ground-truth values.

Step 1: Select Input Segmentation
Take the best-performing segmentation method identified in Objective 1 (or the per-image best, if that granularity was retained), and use its output as the anatomical basis for biomarker extraction.

Step 2: Identify Anatomical Landmarks
From the segmented anatomy, identify the specific bone landmarks/reference points needed to calculate each biomarker — e.g., femoral and tibial axis points for FTA, joint space characteristics for KL grading.

Step 3: Compute FTA (Femorotibial Angle)
Using the identified landmarks, calculate the FTA via the standard geometric/angular formula (angle between femoral and tibial mechanical/anatomical axes).

Step 4: Compute KL Grade
Develop or apply a classification method (rule-based on joint space narrowing/osteophyte presence, or a trained classifier) to assign a KL grade (0–4) based on the segmented joint features.

Step 5: Establish Ground Truth for Biomarkers
Obtain expert-measured KL grade and FTA values (from a radiologist/orthopedic clinician) on a validation subset of images — decide here whether this uses the same small (20–30) or larger (100–200) sample-size approach discussed for Objective 1, with the same statistical safeguards (paired tests, bootstrap) if going with the smaller set.

Step 6: Evaluate Biomarker Accuracy
Compare the automatically extracted KL grade and FTA values against the expert-measured ground truth:

- For FTA (continuous value): use metrics like mean absolute error (MAE), root mean squared error (RMSE), or Bland-Altman analysis (standard for comparing two measurement methods).

- For KL grade (categorical, 0–4): use accuracy, weighted Cohen's kappa (accounts for how "far off" a misclassification is — e.g., grade 2 predicted as 3 is a smaller error than grade 2 predicted as 4), and a confusion matrix.

Step 7: Analyze Sources of Discrepancy (if any)
Where the automated biomarker disagrees with the expert value, examine whether this traces back to segmentation imperfections (a limitation inherited from Objective 1) or to the biomarker-calculation method itself — this distinction matters for framing the discussion/limitations section of the thesis.

Here's how to actually carry out this discrepancy analysis — breaking it into a concrete, doable procedure:

a. Isolate the two possible error sources

There are two distinct places an error could originate:

- Segmentation error: the traced bone boundary itself is slightly wrong (e.g., the tibial edge is off by a few pixels).

- Calculation error: the segmentation was fine, but the formula/landmark-identification step that turns segmentation into FTA/KL grade made a mistake (e.g., picked the wrong reference points for the angle calculation, or the KL classification rule misjudged a borderline case).

b. Run a "perfect segmentation" control test

For the images in your validation set, also compute FTA/KL grade using the expert-annotated ground-truth segmentation mask (from Objective 1's Step 2) instead of your automated segmentation output.

- If the biomarker calculated from the ground-truth mask still disagrees with the expert's measured KL grade/FTA → the error is coming from the biomarker calculation step, not segmentation (since segmentation was perfect in this test).

- If the biomarker calculated from ground-truth segmentation matches the expert's value well, but your automated segmentation's biomarker doesn't → the error is coming from segmentation imperfections, not the calculation method.

This is the core technique — it isolates the two error sources by controlling one variable (using perfect segmentation) and observing whether the discrepancy disappears.

c. Quantify how much each source contributes

For each image, compute:

- Error using automated segmentation → automated biomarker vs. expert biomarker (total error)

- Error using ground-truth segmentation → calculated biomarker vs. expert biomarker (calculation-only error)

The difference between these two error values roughly indicates how much of the total error is attributable to segmentation quality versus the calculation method itself.

d. Correlate segmentation accuracy with biomarker error

Using the segmentation accuracy scores from Objective 1 (Dice/IoU/boundary accuracy per image), check whether images with lower segmentation accuracy also tend to have larger biomarker errors. A clear correlation supports "segmentation quality drives biomarker error"; a weak/no correlation suggests the calculation method is the bigger factor, independent of segmentation quality.

e. Case-by-case qualitative review of the worst discrepancies

For the handful of images with the largest biomarker errors, visually inspect: was the segmentation clearly off in a way that explains the error? Or did the segmentation look fine but the landmark-picking/angle-calculation step behave oddly (e.g., a borderline anatomical variant that confuses the angle formula)? This qualitative pass often catches edge cases the quantitative analysis alone might miss.

Summary of the process: compare biomarkers computed from your automated segmentation vs. from perfect (ground-truth) segmentation, both against the expert's actual measured value — the gap between these two comparisons tells you how much of the error is segmentation's fault versus the calculation method's fault, and correlating this with Objective 1's segmentation accuracy scores strengthens the finding further.

Step 8: Report Final Validated Biomarker Pipeline
Confirm the accuracy level achieved and establish this as the validated biomarker-extraction method to be used as input into Objective 3's prediction framework.

Objective 3: Integrated Radiological-Clinical Prediction Framework for Osteoarthritis and TKA Risk

To develop and validate an integrated prediction framework that combines the structural biomarkers (KL grade, FTA) extracted in Objective 2 with clinical characteristics (age, sex, BMI, pain/functional scores, physical activity, prior knee injury/surgery) to predict osteoarthritis progression and the risk of total knee arthroplasty (TKA).

Step 1: Define the Prediction Target
Adopt a time-to-event (survival analysis) framing — predicting when TKA is likely to occur, rather than a simple yes/no — since this best fits the longitudinal structure of the OAI dataset, where patients are followed over multiple years and some have not yet experienced the outcome (censored cases).

Step 2: Assemble the Integrated Dataset
Combine the validated structural biomarkers from Objective 2 (KL grade, FTA) with clinical variables from OAI — age, sex, BMI, pain/functional scores (e.g., WOMAC), physical activity level, and prior knee injury/surgery history — into a single patient-level dataset, linked by participant ID and visit.

Step 3: Handle Missing Data and Longitudinal Structure
Define an imputation strategy for missing clinical values; decide whether to use baseline-only data or model repeated visits; identify and correctly handle patients lost to follow-up or without a recorded TKA event (censoring).

Step 4: Feature Selection and Preprocessing
Check for multicollinearity among predictors (e.g., age, prior injury); normalize/scale continuous variables (age, BMI, FTA); encode categorical variables (sex, KL grade, injury history) appropriately.

Step 5: Train/Test Split
Split the dataset into training and test sets (or k-fold cross-validation) at the patient level, ensuring no single patient's records appear in both sets, to avoid data leakage.

Step 6: Develop the Prediction Model
Build a survival-based model — a Cox Proportional Hazards model as the primary, interpretable model, with an optional machine-learning survival model (e.g., Random Survival Forest) for comparison. Construct three variants: (a) radiological-only (KL grade, FTA), (b) clinical-only, (c) combined — to enable direct comparison of contribution.

Step 7: Model Validation
Evaluate model performance on the held-out test set using metrics suited to survival models: concordance index (C-index), time-dependent AUC, calibration plots, and Kaplan-Meier curves comparing predicted risk groups.

Step 8: Compare Feature Set Contributions
Compare performance across the three variants from Step 6 to determine whether the integrated (radiological + clinical) model meaningfully outperforms either data source alone — directly justifying the "integrated" framing of the objective.

Step 9: Assess Model Robustness
Use bootstrapped confidence intervals on performance metrics to confirm results are stable, not dependent on a single train/test split; where feasible, validate on a distinct patient subgroup (e.g., different age band or enrollment site) to test generalizability.

Step 10: Interpret and Report Key Predictors
Report hazard ratios (from the Cox model) or feature importance scores (from the ML model) in clinically interpretable terms — e.g., "higher KL grade and BMI were associated with increased TKA risk over time."

Step 11: Establish the Baseline for Objective 4
Finalize this model as the validated TKA risk prediction model. This model becomes the input that Objective 4 will make transparent and clinically interpretable through explainability techniques.

Step 12: Documentation
Consolidate methodology, model comparisons, and predictor interpretation into the thesis chapter; this integrated prediction framework is substantial enough to stand as an independent publication.

Objective 4: Explainable and Interpretable Risk Prediction for Clinical Decision Support

To develop and evaluate an explainability framework for the TKA risk prediction model established in Objective 3, using model-agnostic interpretability techniques (e.g., SHAP, LIME) to generate patient-level and population-level explanations of predicted risk, and to assess the clinical interpretability and trustworthiness of these explanations.

Step 1: Start with the finished prediction model
Use the model already built and tested in Objective 3 — this objective doesn't change or rebuild it, just explains how it makes decisions.

Step 2: Apply tools that explain the model's decisions
Use explainability tools like SHAP or LIME to figure out, for each prediction, which factors (KL grade, BMI, FTA, age, etc.) pushed a patient's risk score up or down, and by how much.

Step 3: Create explanations for individual patients
For a specific patient, produce a clear, simple breakdown — e.g., "this patient's risk is high mainly because of a high KL grade and high BMI" — something a doctor could read and immediately understand.

Step 4: Create explanations across all patients
Look at the bigger picture — across everyone in the dataset, which factors tend to matter most overall? (e.g., "KL grade is generally the biggest driver of risk, followed by BMI.")

Step 5: Check if the explanations make medical sense
Compare what the model says is important against what doctors already know about knee arthritis risk factors. If the model highlights something unexpected or medically odd, flag it for a closer look — it could be a genuine new insight or a sign something's wrong with the model.

Step 6: Get feedback from doctors, if possible
Show some example explanations to radiologists or clinicians and ask: does this make sense to you, do you trust it, would this actually help you make decisions? This can be a simple set of questions or a short feedback session — no need for a large formal trial.

Step 7: Write it all up
Summarize which factors the model relies on most, whether they match medical understanding, and what doctors thought of the explanations — turn this into the final thesis chapter and, if strong enough, a standalone paper.

Expert Annotation and Clinical Input Requirements

Here's the complete list of exactly what is needed from clinical/expert collaborators, across the methodology:

1. Segmentation masks (for Objective 1)
The expert traces/outlines the actual bone boundaries and joint anatomy on each X-ray in your validation set — essentially marking where the femur, tibia, and joint space precisely are. This is used to check whether the computer's automated tracing (segmentation) is accurate.
Format needed: annotated image masks — either drawn on specialized annotation software, or landmark/boundary coordinates.

2. FTA measurement (for Objective 2)
The expert measures the actual Femorotibial Angle on each X-ray, the way it would normally be done in clinical practice — this becomes the "correct" angle value to check the computer's calculated FTA against.
Format needed: a single numeric value (degrees) per image.

3. KL grade (for Objective 2)
The expert assigns a Kellgren-Lawrence severity grade (0–4) to each X-ray based on their clinical judgment of joint space narrowing, osteophytes, etc. — this becomes the "correct" grade to check the computer's predicted grade against.
Format needed: a single categorical value (0, 1, 2, 3, or 4) per image.

4. (Optional, if using inter-rater reliability) A second expert's independent annotations
If more than one radiologist/clinician is available, having a second person independently do tasks 1-3 on an overlapping subset lets you measure how much experts agree with each other — this strengthens your "ground truth" claim, since a single expert's judgment (especially for KL grading, which involves some subjectivity) isn't automatically the absolute truth.

5. (For Objective 3) Confirmed clinical outcome data
Confirmation of whether and when each patient underwent total knee arthroplasty (TKA), needed as the outcome label for the prediction model. For the OAI dataset, this may already exist as recorded outcome data rather than requiring fresh expert annotation — to be verified against OAI's documentation before assuming new clinical input is needed.